

|  |  |  |
| --- | --- | --- |
|  | Foodstuffs Parts Return | |
|  |  | Job Details: |
| Engineer: |  | Jarred Green |
|  |  |  |
| Date: |  | 05-07-16 |
|  |  |  |
| Job Number (SV): |  | SV1606220059 |
|  |  |  |
| Site Name: |  | PAK'nSAVE Mill Street |
|  |  |
|  |  |  |

Part Status (Please Circle):

GNU Faulty DOA

|  |  |
| --- | --- |
|  | Installed Part: |
| Installed Part Number: |  |
|  |  |
| Installed Part Description: |  |
|  |  |
| Installed Serial Number: | G14M91831 |
|  |  |
| Installed Asset Tag: | 110467 |
|  |  |

Faulty Part:

|  |  |
| --- | --- |
| Faulty Part Number: |  |
|  |  |
| Faulty Part Description: |  |
|  |  |
| Faulty Serial Number: | MJ0049368 |
|  |  |
| Faulty Asset Tag: | 900004369 |
|  |  |

Fault Description:

|  |
| --- |
| failed calibration. Replaced and tested weight and scanning items. Working fine. Told staff to get calibrated. |